** NOTE TO SPECIFIER **  This document is subject to copyright protection and is proprietary of Ruskin Company.  Ruskin authorizes the Specifier a limited non-exclusive license to use this document (in whole or in part) for the purpose of preparing written product specifications for the above CSI MasterFormat category.  Ruskin Company is providing the information contained in this document for informational use, and is provided without representation or warranty of any kind as to the user or any other party, including, without limitation, any implied warranty of merchantability, and fitness for particular purpose, application, or non-infringement. To the greatest extent permitted by applicable law, Ruskin Company assumes no liability, and User assumes all liability and risk, for the use or results from the use of this document or the information contained herein, whether modified by the user or not. Any user of this document should consult www.ruskin.com to verify that the information contained herein is the most current representation of the specified product.

SECTION 10 71 13

EXTERIOR SUN CONTROL DEVICES

Display hidden notes to specifier by using “Tools”/”Options”/“View”/”Hidden Text”.

** NOTE TO SPECIFIER **  This section is based on the products of Ruskin Company, which is located at:

3900 Dr. Greaves Rd.

Grandview, MO 64030

Tel: (816) 761-7476

Fax: (816) 765-8955

Email: ruskin@ruskin.com.

Web: http://www.ruskin.com.

Ruskin Sunshades offer energy savings by reducing solar heat gain through glazing. With a wide variety of available blade styles and configurations, they also provide aesthetic appeal to the building exterior. Ruskin Sunshades are constructed of aluminum components for reduced weight and excellent corrosion resistance. All models are available with a variety of Kynar or Anodize finishes. Refer to Ruskin’s “The Architect’s Guide to Sun Control Products”.

.

SECTION 10 71 13 – EXTERIOR SUN CONTROL DEVICES, Copyright 2015, Ruskin Company.

GENERAL

SECTION INCLUDES

Exterior sun control devices.

RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

Section 01 81 13 – LEED Requirements.

Section 03 30 00 - Cast-In-Place Concrete.

Section 04 20 00 - Masonry Units.

Section 05 10 00 - Structural Metal Framing.

Section 06 10 00 - Rough Carpentry.

Section 07 42 0 - Metal Wall Panels.

Section 07 60 00 - Flashing and Sheet Metal.

Section 07 92 00 - Joint Sealants.

Section 09 91 00 - Paints.

REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

AAMA 2604 – High Performance Organic Coatings on Architectural Extrusions and Panels.

AAMA 2605 – High Performance Organic Coatings on Architectural Extrusions and Panels.

AAMA 611 – Voluntary Specification for Anodized Architectural Aluminum.

ASCE 7 - Minimum Design Loads for Buildings and Other Structures.

ASTM B209 - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

ASTM D822 - Standard Practice for Filtered Open-Flame Carbon-Arc Exposures of Paint and Related Coatings

ASTM D4214 - Standard Test Methods for Evaluating the Degree of Chalking of Exterior Paint Films.

ASTM D2244 - Standard Test Method for Calculation of Color Differences From Instrumentally Measured Color Coordinates.

** NOTE TO SPECIFIER **  Delete if not required.

USGBC: U.S. Green Building Council LEED Rating System.

ACTION SUBMITTALS

Submit under provisions of Section 01 30 00.

Product Data:  Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

** NOTE TO SPECIFIER **  Delete if LEED not required.

LEED Submittals:

** NOTE TO SPECIFIER **  Design data for EA 1 and EQ 8 are submitted during the design submittal phase. Delete if this section is not part of the design submittal.

Design Data for Credit EA 1: Documentation indicating increasing levels of energy performance contribution to reduce environmental and economic impacts associated with excessive energy use.

Design Data for Credit EQ 8.1/8.2: Documentation indicating increasing levels of daylighting and views by performance contribution to daylight redirection and glare control to avoid high contrast situations that could impeded visual tasks.

Product Data for Credit MR 4.2: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content.

Product Certificates for Credit MR 5.2: For products and materials required to comply with requirements for regional materials, certificates indicating location of material manufacturer and point of extraction, harvest, or recovery for each raw material. Include statement indicating distance to Project, cost for each regional material, and fraction by weight that is considered regional.

Shop Drawings: Indicate adaptation of manufacturer's standard sun shade system to Project; system elevations, and dimensions, structural support requirements and tolerances, profiles of members, anticipated deflection under load and details.

Retain "Delegated-Design Submittal" Paragraph below if design services have been delegated to Contractor.

Delegated-Design Submittal: For exterior sun control devices.

Contractor shall provide structural calculations with professional engineer certification and approval by the AHJ.

** NOTE TO SPECIFIER **  Delete selection samples if not required.

Samples:  For each finish product specified, submit samples to show sun shade components, fasteners, accessories, finish, and color.

INFORMATIONAL SUBMITTALS

Welding certificates.

Sample Warranty: For special warranties.

CLOSEOUT SUBMITTALS

Maintenance Data: For exterior sun control devices to include maintenance manuals.

QUALITY ASSURANCE

Obtain sunshade systems from one source, from a single manufacturer.

Sunshade systems shall be manufactured by a firm with a minimum of 5 years of experience in the design, engineering and fabrication of similar systems.  Alternate manufacturers shall submit evidence of sufficient expertise and experience no less than 10 days prior to bid date.  If such manufacturers are judged acceptable, they will be identified by addendum prior to bid date.  No other form of approval shall be acceptable.

** NOTE TO SPECIFIER **  Insert installer qualifications. Delete if not required.

Installer Qualifications:

USGBC LEED Compliance:  The Work of this section shall be in accordance with applicable portions of the U.S. Green Building Council’s LEED Green Building Rating System. Refer to Divisions 23 and 26 Sections and other related documents bound herein for purposes of complying with this requirement.

** NOTE TO SPECIFIER **  Retain "Delegated-Design" Paragraph below if design services have been delegated to Contractor.

Delegated-Design Submittal: For exterior sun control devices.

Contractor shall provide design, engineering and permitting services to satisfy requirements of the AHJ.

Welding Qualifications: Qualify procedures and personnel according to the following:

AWS D1.2/D1.2M, "Structural Welding Code - Aluminum."

DELIVERY, STORAGE, AND HANDLING

Store products in manufacturer's unopened packaging until ready for installation.

Store materials in a dry area indoors, protected from damage and in accordance with manufacturer's instructions.

Handling:  Protect materials and finishes during handling and installation to prevent damage.

Store and dispose of solvent-based materials, and materials used with solvent-based materials, in accordance with requirements of local authorities having jurisdiction.

PROJECT CONDITIONS

Do not install products under environmental conditions outside manufacturer's absolute limits.

Installer shall verify actual measurements/connections by field measurements before fabrication; show recorded measurements on shop drawings.  Coordinate field measurements and fabrication schedule with construction progress to avoid construction delays.

WARRANTY

Manufacturer shall provide standard limited warranty for sunshade systems for a period of five years (60 months) from date of installation, no more than 60 months after shipment from manufacturing plant. When notified in writing from the Owner of a manufacturing defect, manufacturer shall promptly correct deficiencies without cost to the Owner.

** NOTE TO SPECIFIER Warranty is not available for locales within 100 miles of coastal waters. Warranty is not available for some exotic colors. Verify finish warranty with manufacturer.  Delete if not required.

Manufacturer shall provide 20 year limited warranty for floropolymer-based finish on extruded aluminum substrates.

Finish coating shall not peel, blister, chip, crack or check.

Chalking, fading or erosion of finish when measured by the following tests:

Finish coating shall not chalk in excess of 8 numerical ratings when measured in accordance with ASTM D4214.

Finish coating shall not change color or fade in excess of 5 NBS units as determined by ASTM D2244 and ASTM D822.

Finish coating shall not erode at a rate in excess of .01 mils/year as determined by Florida test sample.

** NOTE TO SPECIFIER Warranty is not available for locales within 100 miles of coastal waters. Verify finish warranty with manufacturer.  Delete if not required.

Manufacturer shall provide a 5 year limited warranty for Class I and a 3 year limited warranty for Class II anodized finish on extruded aluminum substrates.

Seller warrants the Finish under normal atmospheric conditions.

Will not crack, craze, flake or blister

Will not change or fade more than (5) Delta-E Hunter units as determined by ASTM method D-2244

Will not chalk in excess of ASTM D-4214-07 number (8) rating, determined by the procedure outlined in ASTMD-4214-07 specification test.

Any forming or welding must be done prior to finishing.  Post forming or welding will void the warranty.

This Warranty applies only if the anodized aluminum product is installed in strict accordance with Seller’s recommended practices and maintained in accordance with AAMA (American Architectural Manufacturers Association) publication number 609 and 610-09 (“Cleaning and Maintenance Guide for Architecturally Finished Aluminum”).

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer:  Ruskin Company; 3900 Dr. Greaves Rd., Grandview, MO 64030. Tel: (816) 761-7476.

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01 60 00.

PERFORMANCE REQUIREMENTS

Retain below if Contractor is required to assume responsibility for design. Delete if not required.

Delegated Design: Engage a qualified professional engineer, as defined in Section 014000 "Quality Requirements," to certify and stamp the structural design calculations provided by the manufacturer.

** NOTE TO SPECIFIER **  Confirm code mandated requirements. ASCE values in lieu of code mandated requirements may be used. Delete if not required.

Sun shades shall be factory engineered to withstand wind loads, acting inwards and outwards.

Minimum design loads shall be calculated to comply with ASCE – 7, or local requirements of Authority Having Jurisdiction.

** NOTE TO SPECIFIER **  Confirm code mandated requirements. Ruskin has engineered systems in all designs for 30 psf (145 kg/square m) minimum vertical load. ASCE values in lieu of code mandated requirements may be used. Delete if not required.

Sun shades shall be factory engineered to dead and live gravity loads,

Minimum design loads shall be calculated to comply with ASCE – 7, or local requirements of Authority Having Jurisdiction.

** NOTE TO SPECIFIER **  Confirm code mandated requirements. ASCE values in lieu of code mandated requirements may be used. Delete if not required.

Sun shades shall be factory engineered to withstand the specified seismic loads.

Minimum design loads shall be calculated to comply with ASCE – 7, or local requirements of Authority Having Jurisdiction.

** NOTE TO SPECIFIER **  Confirm delta–T anticipated. Delete if not required.

Sun shades shall be factory engineered to withstand the thermal stress to which the sunshades will be subjected.

Base engineering on a surface design temperature change of 180 degrees F (82 degrees C).

Sun shades shall be designed to perform under conditions specified herein or required by site conditions with no permanent damage to or deforming of the sunshade blades or assembly, noise or metal fatigue caused by sunshade blade rattle or flutter, or permanent damage to fasteners and anchors.

** NOTE TO SPECIFIER **  Delete if not required.

Sunshades shall have a minimum of 20 percent recycled content (post-consumer + 1/2 pre-consumer).

DESIGN

Refer to Drawings for application, design and details.

Design based on Exterior Sun Control Devices as manufactured by Ruskin Company.

Pre-engineered application:

** NOTE TO SPECIFIER **  Delete design not required.

Horizontal cantilever.

Horizontal supported.

Vertical hung.

COMPONENTS

** NOTE TO SPECIFIER **  Blades are the most crucial part of the sunshade. The blade profile determines shading, the spans between outriggers, and a large portion of the cost. Manipulating blade spacing and angle is the easiest way to dictate the effectiveness of the sunshade. Delete blade not required.

    - Blade Design: 6063T6 alloy extruded aluminum.

Airfoil Blade: 4 inches to 16 inches (102 mm to 406 mm).

Diamond Blade: 4 inches (102 mm).

Square Tube Blade: 1 inch to 4 inches (25 mm to 102 mm).

Rectangular Tube Blade: 2 inches to 10 inches (51 mm to 254 m).

Louver Blade: 4 inches  to 8 inches (102 mm to 203 mm).

Wing Blade: 5 inches to 7 inches (127 mm to 178 mm).

Round Tube Blade: 1 inch to 6 inches (25 mm to 152 mm).

** NOTE TO SPECIFIER **  Consult Ruskin if blade selected.

Flat Blade.

** NOTE TO SPECIFIER **  The fascia is the front and/or back edge of the sunshade. Front fascia designs can have a bigger effect on appearance than a blade design. When choosing a fascia profile, keep in mind the span has to be greater than or equal to the span of the blade chosen. Delete fascia not required.

Fascia Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete fascia profile not required.

Sharp Wedge.

Round Wedge.

Channel.

Rectangular Tube.

Round Tube.

Bullet.

Quarter Round Tube.

** NOTE TO SPECIFIER **  Outriggers are the arms that extend out from the building. They provide the connection to the building, and therefore when choosing an outrigger type, loading should be factored. The profile of the outrigger dictates how far they can cantilever from the wall. The thicker the outrigger, the greater weight it can support. Delete outrigger profile not required.

Outrigger Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete outrigger profile not required.

Wedge.

Channel.

Rectangular Tube.

Rounded End.

Rounded End Tapered.

Flat Bar.

** NOTE TO SPECIFIER **  If a blade is greater than the unsupported width then specify intermediate outriggers. Intermediate Outriggers do not connect to building. Refer to Ruskin’s “The Architect’s Guide to Sun Control Products” for blade span and cantilever design for effects of wind, snow, live, & ice load loads on sunshade design. Delete if not required.

Intermediate Outrigger:

PRE-ENGINEERED DESIGN - SUN SHADE RECTANGULAR TUBE

Refer to Drawings for application, design and details.

Design based on Model SSRT (Sun Shade Rectangular Tube) as manufactured by Ruskin Company.

Pre-engineered application:

** NOTE TO SPECIFIER **  Delete design not required.

Horizontal cantilever.

Horizontal supported.

Vertical hung.

Components:

Blade Design: 6063T6 alloy extruded aluminum.

** NOTE TO SPECIFIER **  Delete vertical design not required.

Rectangular tube blade, vertically mounted, SSRTV4, 4 inch (102 mm) blade width.

1-3/4 inches by 4 inches by .125 inch (44 mm by 102 mm by 3.2 mm) installed at 45 degree angle and 4-1/2 inches (114 mm) center-to-center spacing.

Rectangular tube blade, vertically mounted, SSRTV6, 6 inch (152 mm) blade width.

2 inches by 6 inches by .125 inch (51 by 152 by 3.2) installed at 45 degree and 6 inches (152 mm) center-to-center spacing.

** NOTE TO SPECIFIER **  Delete horizontal design not required.

Rectangular tube blade, horizontally mounted, SSRTH4, 4 inch (102 mm) blade width.

1-3/4 inches by 4 inches by .125 inch (44 mm by 102 mm by 3.2 mm) installed at 45 degree angle and 4-1/2 inches (114 mm) center-to-center spacing.

Rectangular tube blade, horizontally mounted, SSRTH6, 6 inch (152 mm) blade width.

2 inches by 6 inches by .125 inch (51 by 152 by 3.2) installed at 45 degree and 6 inches (152 mm) center-to-center spacing.

Fascia Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete fascia profile not required.

Channel.

Round.

Bullnose.

** NOTE TO SPECIFIER **  Delete outrigger profile if horizontal application not required.

Outrigger Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete outrigger profile not required.

Straight.

Tapered.

Channel.

PRE-ENGINEERED DESIGN - SUN SHADE EGGCRATE GRILLE HORIZONTAL

Refer to Drawings for application, design and details.

Design based on Model SSEGH (Sun Shade Eggcrate Grille Horizontal) as manufactured by Ruskin Company.

Pre-engineered application:

** NOTE TO SPECIFIER **  Delete design not required.

Horizontal cantilever.

Horizontal supported.

Components:

Blade Design: 6063T6 alloy extruded aluminum.

** NOTE TO SPECIFIER **  Delete eggcrate blade design not required.

Eggcrate blade, horizontally mounted, SSEGH2, 2 inch (51 mm) deep eggcrate.

Eggcrate blade, horizontally mounted, SSEGH4, 4 inch (102 mm) deep eggcrate.

Eggcrate blade, horizontally mounted, SSEGH6, 6 inch (152 mm) deep eggcrate.

Eggcrate blade, vertically mounted, SSEGV2, 2 inch (51 mm) deep eggcrate.

Eggcrate blade, vertically mounted, SSEGV4, 4 inch (102 mm) deep eggcrate.

Eggcrate blade, vertically mounted, SSEGV6, 6 inch (152 mm) depth.

** NOTE TO SPECIFIER **  Delete wall thickness not required.

Wall Thickness:  0.081 inch (2.1 mm), nominal.

Wall Thickness:  0.125 inch (3.2 mm), nominal.

** NOTE TO SPECIFIER **  Delete grid depth not required.

Grid Depth: 1 inch (25 mm).

Grid Depth: 2 inches (51 mm).

Grid Depth: 3 inches (76 mm).

Grid Depth: 4 inches (102 mm).

Grid Depth: 5 inches (127 mm).

Grid Depth: 6 inches (152 mm).

** NOTE TO SPECIFIER **  Eggcrate dimensions of 2 inches to 12 inches (51 mm to 305 mm) width by 2 inches to 12 inches (51 mm by 305 mm) length.  Both grid dimensions must be at least as deep as the eggcrate depth.  Delete widthnot required.

Grid Dimension - Width: 2 inches (51 mm).

Grid Dimension - Width: 3 inches (76 mm).

Grid Dimension - Width: 4 inches (102 mm).

Grid Dimension - Width: 5 inches (127 mm).

Grid Dimension - Width: 6 inches (152 mm).

Grid Dimension - Width: 7 inches (178 mm).

Grid Dimension - Width: 8 inches (203 mm).

Grid Dimension - Width: 9 inches (227 mm).

Grid Dimension - Width: 10 inches (254 mm).

Grid Dimension - Width: 11 inches (279 mm).

Grid Dimension - Width: 12 inches (305 mm).

** NOTE TO SPECIFIER **  Delete width and length not required.

Grid Dimension - Length: 2 inches (51 mm).

Grid Dimension - Length: 3 inches (76 mm).

Grid Dimension - Length: 4 inches (102 mm).

Grid Dimension - Length: 5 inches (127 mm).

Grid Dimension - Length: 6 inches (152 mm).

Grid Dimension - Length: 7 inches (178 mm).

Grid Dimension - Length: 8 inches (203 mm).

Grid Dimension - Length: 9 inches (227 mm).

Grid Dimension - Length: 10 inches (254 mm).

Grid Dimension - Length: 11 inches (279 mm).

Grid Dimension - Length: 12 inches (305 mm).

Fascia Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete fascia profile not required.

Channel.

Round.

Bullnose.

** NOTE TO SPECIFIER **  Delete outrigger profile if horizontal application not required.

Outrigger Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete outrigger profile not required.

Straight.

Tapered.

Channel.

PRE-ENGINEERED DESIGN - SUN SHADE BLADE HORIZONTAL

Refer to Drawings for application, design and details.

Design based on Model SSLBH (Sun Shade Blade Horizontal) as manufactured by Ruskin Company.

Pre-engineered application:

** NOTE TO SPECIFIER **  Delete design not required.

Horizontal cantilever.

Horizontal supported.

Components:

Blade Design: 6063T6 alloy extruded aluminum.

** NOTE TO SPECIFIER **  Delete louver blade design not required.

Louver blade, horizontally mounted, SSLBH4, 4 inch (102 mm) blade width.

0.125 inch (3.2 mm) nominal thickness, installed at 45 degree angle.

Louver blade, horizontally mounted, SSLBH6, 6 inch (152 mm) blade width.

0.125 inch (3.2 mm) nominal thickness, installed at 45 degree angle.

Fascia Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete fascia profile not required.

Channel.

Round.

Bullnose.

** NOTE TO SPECIFIER **  Delete outrigger profile if horizontal application not required.

Outrigger Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete outrigger profile not required.

Straight.

Tapered.

Channel.

PRE-ENGINEERED DESIGN - SUN SHADE AIR FOIL

Refer to Drawings for application, design and details.

Design based on Model SSAF (Sun Shade Air Foil) as manufactured by Ruskin Company.

Pre-engineered application:

** NOTE TO SPECIFIER **  Delete design not required.

Horizontal cantilever.

Horizontal supported.

Vertical hung.

Components:

Blade Design: 6063T6 alloy extruded aluminum.

** NOTE TO SPECIFIER **  Delete vertical design not required.

Airfoil blade, vertically mounted, SSAFV4, 4 inch (102 mm) blade width.

0.110 inch (2.8 mm) nominal thickness, installed at 45 degree angle.

Airfoil blade, vertically mounted, SSAFV6, 6 inch (152 mm) blade width.

0.110 inch (2.8 mm) nominal thickness, installed at 45 degree angle.

Airfoil blade, vertically mounted, SSAFV8, 8 inch (203 mm) blade width.

0.110 inch (2.8 mm) nominal thickness, installed at 45 degree angle.

** NOTE TO SPECIFIER **  Delete horizontal design not required.

Airfoil blade, horizontally mounted, SSAFH4, 4 inch (102 mm) blade width.

0.110 inch (2.8 mm) nominal thickness, installed at 45 degree angle.

Airfoil blade, horizontally mounted, SSAFH6, 6 inch (152 mm) blade width.

0.110 inch (2.8 mm) nominal thickness, installed at 45 degree angle.

Airfoil blade, horizontally mounted, SSAFH8, 8 inch (203 mm) blade width.

0.110 inch (2.8 mm) nominal thickness, installed at 45 degree angle.

Fascia Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete fascia profile not required.

Channel.

Round.

** NOTE TO SPECIFIER **  Delete outrigger profile if horizontal application not required.

Outrigger Profile: Size as indicated on Drawings.

** NOTE TO SPECIFIER **  Delete outrigger profile not required.

Straight.

Tapered.

Channel.

BRACKETS

Installation Bracket: Bolted Connection to Steel.

Installation Bracket: Bolted through Concrete Block.

Installation Bracket: Concrete Anchor Connection.

Installation Bracket: Welded Steel Knife Plate Connection.

Installation Bracket: Bolted through Wood Connection.

Installation Bracket: Curtain Wall Connection.

FABRICATION

The intermediate outriggers shall have a very closely milled  blade shape cut through the intermediate outrigger to support longer runs of the blade than the recommended unsupported distance.

A design using individual blade sections between outriggers and secured by exposed fasteners is not permitted.

Let Ruskin’s sun control products wrap around your unique building shape! Ruskin’s state-of-the-art miter saw makes any corner angle available! Ruskin can easily help design the connection at the corner. Delete if not required.

Mitered Corners: Fascia and blades shall be precision cut mitered with intermediate outrigger design incorporated.

** NOTE TO SPECIFIER **  Ruskin can curve blades and fascias to match the curve of a building, however, the most economical design is to curve the front fascia piece, while segmenting straight blades. That will give the overall appearance of a curved sunshade without adding the cost to curve every blade. Delete if not required.

Curved Sunshade:

** NOTE TO SPECIFIER **  Eliminate curving costs altogether by segmenting the fascia and blades into smaller sections! The sunshade wraps around the building with ease, appearing to be curved from the outside. Delete if not required.

Segmented Sunshade:

FINISHES

** NOTE TO SPECIFIER **  Specify one of the following factory finishes and delete the others.  Mill finish is standard.  Consult Ruskin for assistance in choosing factory finish for specific applications.

Standard mill finish.

** NOTE TO SPECIFIER **  Delete Kynar finish if not required.

70 percent Floropolymer-Based Painted Finishes: Finish shall be applied at 1.2 mil total dry film thickness.

Coating shall conform to AAMA 2605. Apply coating following cleaning and pretreatment. Cleaning:  AA-C12C42R1X.

** NOTE TO SPECIFIER **  Delete finish not required.

Standard 2-coat.

Pearledize 70 (2-coat mica).

3-coat metallic.

3-coat exotic.

** NOTE TO SPECIFIER **  Delete Kynar finish if not required.

50 percent Floropolymer-Based Painted Finishes: Finish shall be applied at 1.2 mil total dry film thickness.

Coating shall conform to AAMA 2604, sections 4.2 and 4.3. Apply coating following cleaning and pretreatment. Cleaning:  AA-C12C42R1X.

** NOTE TO SPECIFIER **  Delete finish not required.

Baked Enamel (50 % PVDF).

Pearledize 50 (2-coat mica).

** NOTE TO SPECIFIER **  Delete if not required.

Prime Coat:

Apply alkyd prime coat following chemical cleaning and pretreatment.

Primer preparation for field painting.

** NOTE TO SPECIFIER **  Consult Ruskin color selection chart for color samples.  Ruskin can match most custom colors in Kynar based paint. Delete color provision not required.

Color for Fluoropolymer Coating:

** NOTE TO SPECIFIER **  Delete color not required..

Color: Custom. Refer to Drawings.

Color: Manufacturer’s standard in paint system specified.

** NOTE TO SPECIFIER **  Ruskin does not recommend the usage of anodizing sunshades due to potential dissimilar alloys between outrigger, fascia blades, etc., which may cause color variation.

** NOTE TO SPECIFIER **  Anodizing – a new process available at Ruskin. The old system calls for a caustic/chemical etch, designated as C22.  The new designation is C21 acid/chemical etch.  The new type C21 is much more user/environmentally friendly, uses less energy and creates less sludge in the bottom of the etching tanks that has to be removed and recycled by a licensed recycler.  The acid etch system creates a lower gloss finish ranging from 2 to 15 and successfully hides most die marks and minor flow lines.  The C22 process creates higher gloss of 10 to 30 and does not hide the extrusion marks as well. Clear anodize is available in 2 surface depths.  Clear anodize finish 204-R1 is recommended for normal weather exposure.  Clear anodize finish 215-R1 is recommended for severely corrosive or abrasive atmosphere exposure.  Consult Ruskin for assistance in specifying clear anodize for specific applications. Since the outriggers are aluminum plate, and the other components are extrusions, there is a risk of color variance with anodizing. Delete finish Class and color not required.

Anodized Finish:

Class II Clear Anodized.

Comply with Aluminum Association AA-C21A31.  Clear anodized finish 204-R1.

Apply finish following chemical etching and pretreatment.

Minimum Thickness:  0.4 mils (0.01 mm), 30 minute anodizing process.

Class I Clear Anodized.

Comply with Aluminum Association AA-C21A41.  Clear anodized finish 215-R1.

Apply finish following chemical etching and pretreatment.

Minimum Thickness:  0.7 mils (0.018 mm), 60 minute anodizing process.

Class I Color Anodized.

Comply with Aluminum Association AA-C21A44.

Apply finish following chemical etching and pretreatment.

Minimum Thickness:  0.7 mils (0.018 mm), 60 minute anodizing process.

Class I Color Anodized:  Medium Bronze.

Class I Color Anodized:  Dark Bronze.

Class I Color Anodized:  Black.

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install in accordance with manufacturer's instructions.

Specifier Notes:  Specify field topcoat if prime coat is specified in PART 2 - PRODUCTS.

Apply field topcoat within 6 months of application of shop prime coat.  Apply field topcoat as specified in Section 09910.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION